## Wilson Park 10243
WILSON PARK MONTHLY DATA.
ENVIRONMENTAL PROTECTION LICENCE 10243.
WILSON PARK MONITORING POINT 2
Monitoring Frequency | 12 times a year - minimum 25 days apart. | [5 empty] | Units | Description
Method | Grab sample, and flow by continuous logger. | [5 empty] | kL per Day | Kilolitres discharged daily.
Volume Limit | 300 kL per day. | [5 empty] | mg per L | Milligrams per Litre - the amount, in milligrams, of a pollutant per litre of substrate measured.
Pollutant | Ammonia | Oil and Grease | pH | TSS |  |  | pH units | Measurement of pH on a scale of 0 to 14, utilising the log10 of free hydrogen ions in solution.
Unit of measurement | (mg per L) | (mg per L) | (pH units) | (mg per L) |  |  | * | Additional sampling in accordance with licence requirements
100 percentile concentration limit | 0.5 | 10 | 6.5 - 8.5 | 50
Date Sampled |  |  |  |  | Date Received | Date Published | Licensee Name | Sydney Olympic Park Authority.
2012-04-24 | <0.2 | <2 | 8.2 | <25 | 2012-05-04 | 2012-05-25 | Licensee Address | Locked Bag 3, SYDNEY OLYMPIC PARK, NSW 2127
2012-05-24 | <0.2 | <2 | 8.7 | <5 | 2012-06-04 | 2012-07-11
2012-06-26 | <0.2 | <2 | 8.7 | <5 | 2012-07-05 | 2012-07-11
2012-07-24 | <0.2 | <2 | 8.4 | <5 | 2012-08-03 | 2012-08-08 | Location of Monitoring Point 2 | Southern end of Treatment Pond 2, connected to Parramatta River by 195m concrete culvert.
2012-08-23 | <0.2 | <2 | 8.4 | <5 | 2012-09-03 | 2012-09-10
2012-09-25 | <0.2 | <2 | 8.4 | 6 | 2012-10-03 | 2012-10-15
2012-10-23 | <0.2 | <2 | 8.7 | <5 | 2012-11-01 | 2012-11-13
2012-11-22 | <0.2 | <2 | 8.2 | <5 | 2012-12-04 | 2012-12-14
2012-12-20 | <0.2 | <2 | 8.4 | <5 | 2013-01-04 | 2013-01-18
2013-01-25 | <0.2 | <2 | 8.5 | <5 | 2013-02-05 | 7/02/2013
2013-02-25 | <0.2 | <5 | 8.3 | <5 | 2013-03-08 | 12/03/2013
2013-03-21 | <0.2 | <5 | 8.5 | <5 | 2013-03-28 | 2/04/2013
2013-04-23 | 0.02 | <5 | 8.4 | <5 | 20/05/2013 | 24/05/2013
2013-05-30 | <0.01 | <2 | 8.3 | 8.0 | 2013-06-07 | 2013-06-12
2013-06-27 | 0.02 | <5 | 8.3 | 8.5 | 04/07/2013 | 12/07/2013
2013-07-25 | 0.02 | <2 | 8.5 | <5 | 2013-08-06 | 06/08.2013
2013-08-29 | 0.07 | <5 | 8.4 | 13 | 2013-09-05 | 2013-09-09
2013-09-26 | 0.13 | <5 | 8.4 | 11 | 2013-10-04 | 2013-10-16
2013-10-31 | 0.04 | <5 | 8.1 | 7.5 | 2013-11-08 | 2013-11-11
2013-11-28 | 0.03 | <5 | 8.6 | <5 | 2013-12-05 | 2013-12-13
2013-12-19 | 0.03 | <5 | 8.9 | 13 | 2013-12-24 | 2014-01-09
2014-01-30 | 0.21 | <5 | 9.1 | 6.5 | 2014-02-07 | 2014-02-12
2014-02-27 | 0.05 | <5 | 8.5 | 8.0 | 2014-03-07 | 2014-03-11
2014-03-27 | 0.06 | <5 | 8.1 | <5 | 2014-04-08 | 2014-04-28
2014-04-24 | 0.02 | <5 | 8.3 | 7 | 2014-05-07 | 2014-05-07
2014-05-29 | 0.02 | <10 | 8.4 | 15 | 2014-06-05 | 2014-06-10
2014-06-26 | 0.24 | <10 | 8.5 | 6 | 2014-07-03 | 2014-07-15
2014-07-31 | 0.06 | <5 | 8.53 | 236 | 2014-08-07 | 2014-08-12
2014-08-20 | 0.02 | <5 | 8.42 | <5 | 2014-08-27 | 2014-09-15
2014-08-28 | 0.02 | <5 | 8.49 | <5 | 2014-09-03 | 2014-09-15
2014-09-25 | 0.02 | <5 | 8.72 | <5 | 2014-10-02 | 2014-10-10
2014-10-30 | 0.02 | <5 | 8.98 | <5 | 2014-11-07 | 2014-11-11
2014-11-27 | 0.04 | <5 | 9.06 | <5 | 2014-12-09 | 2014-12-09
2014-12-15 | - | - | 8.36* | - | 2014-12-15 | 2014-12-19
2014-12-18 | 0.06 | <5 | 8.58 | <5 | 2014-12-30 | 2015-01-12
2015-01-29 | 0.02 | <5 | 8.24 | <5 | 2015-02-09 | 2015-02-10
2015-02-26 | 0.07 | 6 | 8.38 | <5 | 2015-03-06 | 2015-03-09
2015-03-26 | 0.04 | <5 | 8.53 | <5 | 09/04/205 | 09/04/205
2015-04-15 | - | - | 7.79* | - | 2015-04-15 | 2015-04-15
2015-05-08 | 0.04 | <5 | 8.49 | <5 | 2015-05-11 | 2015-05-15
2015-05-28 | 0.03 | <5 | 8.63 | <5 | 2015-06-10 | 2015-06-16
2015-06-26 | 0.02 | <5 | 8.44 | <5 | 2015-07-06 | 2015-07-15
2015-07-30 | 0.02 | 9 | 8.45 | <5 | 2015-08-07 | 2015-08-12
2015-08-27 | 0.02 | <5 | 8.34 | <5 | 2015-09-03 | 2015-09-07
2015-09-24 | <0.01 | <5 | 8.57 | <5 | 2015-10-06 | 2015-10-07
2015-10-29 | 0.02 | <5 | 8.65 | <5 | 2015-11-05 | 2015-11-10
2015-11-26 | 0.03 | <5 | 8.89 | <5 | 2015-12-03 | 2015-12-09
2015-12-17 | 0.01 | <5 | 9.03 | <5 | 2015-12-29 | 2016-01-14
2016-01-08 | - | - | 9.19* | - | 2016-01-08 | 2016-01-14
2016-01-11 | - | - | 8.05* | - | 2016-01-12 | 2016-01-14
2016-01-28 | 0.08 | <5 | 8.72 | <5 | 2016-02-11 | 2016-02-15
2016-02-02 | - | - | 8.20* | - | 2016-02-02 | 2016-02-15
2016-02-25 | 0.03 | <5 | 8.52 | <5 | 2016-03-03 | 2016-03-10
2016-03-31 | 0.02 | <5 | 8.76 | <5 | 2016-04-06 | 2016-04-15
2016-04-28 | <0.01 | <5 | 8.75 | <5 | 2016-05-05 | 2016-05-10
2016-05-26 | 0.01 | <5 | 8.51 | 5 | 2016-06-02 | 2016-06-10
2016-06-30 | 0.01 | <5 | 8.48 | <5 | 2016-07-07 | 2016-07-08
2016-07-28 | <0.01 | <5 | 8.54 | <5 | 2016-08-03 | 2016-08-04
2016-08-04 | - | - | 7.62* | - | 2016-08-05 | 2016-09-14
2016-08-25 | <0.01 | <5 | 8.58 | <5 | 2016-08-31 | 2016-09-14
2016-09-02 | - | - | 7.78* | - | 2016-09-02 | 2016-09-14
2016-09-29 | <0.01 | <5 | 8.81 | <5 | 2016-10-07 | 2016-10-13
2016-10-27 | 0.03 | <5 | 8.94 | 9 | 2016-11-03 | 2016-11-10
2016-11-24 | 0.07 | <5 | 8.63 | <5 | 2016-12-05 | 2016-12-09
2016-12-22 | 0.04 | <5 | 8.97 | <5 | 2017-01-09 | 2017-02-07
2017-01-25 | 0.04 | <5 | 8.74 | <5 | 2017-02-02 | 2017-02-07
2017-02-23 | 0.02 | <5 | 8.9 | <5 | 2017-03-02 | 2017-03-07
2017-03-30 | 0.09 | <5 | 8.23 | <5 | 2017-04-05 | 2017-05-22
2017-04-27 | 0.06 | <5 | 8.53 | 20 | 2017-05-04 | 2017-05-22
2017-05-25 | 0.02 | <5 | 8.61 | <5 | 2017-06-01 | 2017-06-08
2017-06-29 | 0.02 | <5 | 8.22 | <5 | 2017-07-06 | 2017-07-25
2017-07-27 | 0.05 | <5 | 8.49 | <5 | 2017-08-03 | 2017-08-11
2017-08-31 | 0.01 | <5 | 8.38 | <5 | 2017-09-07 | 2017-09-27
2017-09-28 | 0.04 | <5 | 8.08 | 10 | 2017-10-06 | 2017-10-23
2017-10-26 | 0.03 | <5 | 8.6 | <5 | 2017-11-02 | 2017-11-06
2017-11-30 | 0.04 | <5 | 8.79 | 14 | 2017-12-08 | 2017-12-15
2017-12-28 | 0.08 | <5 | 8.42 | <5 | 2018-01-09 | 2018-01-15
2018-01-25 | <0.01 | <5 | 8.84 | 13 | 2018-02-02 | 2018-02-08
2018-02-22 | 0.03 | <5 | 8.75 | <5 | 2018-03-01 | 2018-03-06 | Licensee Address | 5 Olympic Boulevard, SYDNEY OLYMPIC PARK, NSW 2127
2018-03-29 | 0.05 | <5 | 8.61 | 8 | 2018-04-09 | 2018-04-12
2018-04-26 | 0.05 | <5 | 8.61 | 12 | 2018-05-04 | 2018-05-09
2018-05-31 | 0.05 | <5 | 8.32 | 7 | 2018-06-08 | 2018-06-12
2018-06-28 | 0.02 | <5 | 8.5 | <5 | 2018-07-06 | 2018-07-11
2018-07-26 | 0.1 | <5 | 8.3 | <5 | 2018-08-02 | 2018-08-07
2018-08-30 | 0.02 | <5 | 8.53 | 7 | 2018-09-05 | 2018-09-20
2018-09-27 | 0.08 | <5 | 8.47 | <5 | 2018-10-05 | 2018-10-08
2018-10-25 | 0.02 | <5 | 8.56 | 7 | 2018-11-01 | 2018-11-08
2018-11-29 | 0.04 | <5 | 8.69 | <5 | 2018-12-06 | 2018-12-21
2018-12-20 | 0.06 | <5 | 8.36 | <5 | 2018-12-07 | 2019-01-16
2019-01-31 | 0.06 | <5 | 8.79 | <5 | 2019-02-08 | 2019-03-12
2019-02-28 | 0.11 | <5 | 8.61 | <5 | 2019-03-07 | 2019-03-12
2019-03-28 | 0.08 | <5 | 8.47 | <5 | 2019-04-04 | 2019-04-08
2019-04-30 | 0.04 | <5 | 8.55 | <5 | 2019-05-07 | 2019-05-10
2019-05-30 | 0.05 | <5 | 8.5 | <5 | 2019-06-06 | 2019-06-07
2019-06-27 | 0.07 | <5 | 8.31 | <5 | 2019-07-05 | 2019-07-12
2019-07-25 | 0.03 | <5 | 8.5 | <5 | 2019-07-31 | 2019-08-16
2019-08-29 | 0.24 | <5 | 8.49 | <5 | 2019-09-04 | 2019-09-05
2019-09-26 | 0.02 | <5 | 8.55 | <5 | 2019-10-04 | 2019-10-18
2019-10-31 | 0.08 | <5 | 8.59 | 33 | 2019-11-07 | 2019-12-13
2019-11-28 | <0.05 | <5 | 8.5 | <5 | 2019-12-05 | 2019-12-13
2019-12-19 | 0.1 | <5 | 8.5 | <5 | 2020-01-02 | 2020-01-17
2020-01-30 | <0.1 | <5 | 8.58 | <5 | 2020-02-06 | 2020-02-18
2020-02-27 | 0.1 | <5 | 8.34 | 8 | 2020-03-05 | 2020-03-16
2020-03-26 | 0.09 | <5 | 8.5 | <5 | 2020-04-02 | 2020-04-16
2020-04-30 | 0.02 | <5 | 8.52 | <5 | 2020-05-07 | 2020-05-08
2020-05-28 | 0.02 | <5 | 8.56 | <5 | 2020-06-04 | 2020-06-11
2020-06-25 | 0.06 | 11 | 8.67 | <5 | 2020-07-01 | 2020-07-02
2020-07-30 | 0.03 | <5 | 7.96 | <5 | 2020-08-06 | 2020-08-21
2020-08-27 | <0.01 | <5 | 8.37 | <5 | 2020-09-03
2020-09-24 | 0.01 | <5 | 8.54 | <5 | 2020-10-01 | 2020-10-16
2020-10-29 | 0.03 | <5 | 8.5 | <5 | 2020-11-05 | 2020-11-10
2020-11-26 | <0.01 | <5 | 8.4 | <5 | 2020-12-03 | 2020-12-09
2020-12-22 | 0.05 | <5 | 8.36 | <5 | 2021-01-05 | 2021-01-20
2021-01-28 | 0.1 | <5 | 8.54 | <5 | 2021-02-04 | 2021-02-10
2021-02-25 | <0.01 | <5 | 8.64 | <5 | 2021-03-04 | 2021-03-16
2021-03-25 | <0.1 | <5 | 8.2 | <5 | 2021-04-01 | 2021-04-14
2021-04-30 | 0.05 | <5 | 8.53 | <5 | 2021-05-10 | 2021-05-21
2021-05-27 | 0.02 | 65 | 8.34 | <5 | 2021-06-03 | 2021-07-06
2021-06-28 | <0.01 | <5 | 8.41 | <5 | 2021-07-05 | 2021-07-06
2021-07-29 | <0.01 | - | 8.51 | <5 | 2021-08-03 | 2021-08-20
2021-08-10 | - | <5 | - | - | 2021-08-13 | 2021-08-20
2021-08-26 | 0.22 | <5 | 8.41 | 6 | 2021-09-02 | 2021-09-08
2021-09-24 | 0.04 | <5 | 8.55 | <5 | 2021-10-05 | 2021-10-14
2021-10-27 | 0.05 | <5 | 8.7 | 13 | 2021-11-03 | 2021-11-05
2021-11-30 | 0.05 | <5 | 8.77 | <5 | 2021-12-09 | 2021-12-17
2021-12-22 | 0.04 | <5 | 8.49 | <5 | 2022-01-06 | 2022-01-24
2022-01-31 | 0.06 | <2 | 8.57 | 24 | 2022-02-10 | 2022-02-24
2022-02-22 | 0.06 | <5 | 8.51 | <5 | 2022-03-01 | 2022-03-25
2022-03-29 | 0.07 | <5 | 8.45 | 16 | 2022-04-06 | 2022-04-11
2022-04-28 | 0.02 | <2 | 8.47 | <5 | 2022-05-04 | 2022-05-06
2022-05-31 | 0.01 | <5 | 8.29 | <5 | 2022-06-08 | 2022-06-15
2022-06-30 | 0.02 | 5 | 8.45 | <5 | 2022-07-06 | 2022-07-27
2022-07-28 | 0.03 | <5 | 8.37 | 7 | 2022-08-04 | 2022-08-12
2022-08-30 | 0.02 | <5 | 8.56 | 6 | 2022-09-07 | 2022-10-04
2022-09-28 | 0.01 | <5 | 8.54 | <5 | 2022-10-06 | 2022-10-12
2022-10-26 | 0.02 | <5 | 8.52 | 7 | 2022-11-02
2022-11-29 | 0.02 | <5 | 8.63 | 6 | 2022-12-06
2022-12-30 | 0.03 | <5 |  | <5 | 2022-12-30
4/01/2023 * | 0.06 | - | 8.34 | - | 2023-01-04
2023-01-24 | 0.08 | <5 | 8.32 | 8 | 2023-02-02
2023-02-23 | <0.1 | <5 | 8.19 | <5 | 2023-03-01
2023-03-29 | 0.84 | <5 | 7.89 | <5 | 2023-04-05
2023-04-21 | 0.22a | - | 8.13 | - | 2023-04-24
2023-05-30 | 0.09 | <5 | 8.36 | <5 | 2023-06-06
2023-06-27 | 0.11 | <5 | 8.16 | <5 | 2023-07-04
2023-07-27 | 0.09 | <5 | 8.18 | <5 | 2023-08-03
2023-08-31 | 0.03 | <5 | 8.33 | <5 | 2023-09-07
2023-09-25 | 0.05 | <5 | 8.39 | 7 | 2023-10-03
2023-10-23 | 0.04 | <5 | 8.45 | <5 | 2023-10-31
2023-11-29 | 0.17 | <5 | 8.34 | <5 | 2023-12-06
2023-12-20 | 0.11 | <5 | 8.01 | <5 | 2024-01-04
2024-01-24 | 0.03 | <5 | 8.27 | -b | 2024-02-02
2024-02-22 | 0.02 | <5 | 8.4 | <5 | 2024-02-29
2024-03-28 | 0.03 | <5 | 8.53 | <5 | 2024-04-08
2024-04-10 | - | - | - | 7a | 2024-04-16
2024-04-29 | 0.02 | <5 | 8.5 | 9 | 2024-05-06
2024-05-27 | 0.05 | <5 | 8.28 | 43 | 2024-06-03
2024-06-27 | 0.03 | <5 | 8.31 | <5 | 2024-07-04
2024-07-24 | 0.04 | <5 | 8.14 | <5 | 2024-07-31
2024-08-28 | 0.02 | <5 | 8.44 | <5 | 2024-09-04
2024-09-23 | 0.04 | <5 | 8.4 | 8 | 2024-09-30
2024-10-30 | 0.01 | <5 | 8.65 | <5 | 2024-11-06
2024-11-28 | 0.04 | <5 | 8.38 | <5 | 2024-12-04
2024-12-18 | 0.07 | <5 | 8.49 | <5 | 2024-12-24
2025-01-31 | 0.02 | 5 | 8.56 | <5 | 2025-02-07
2025-02-12 | 0.02 | <5 | 8.69 | <5 | 2025-02-19
2025-03-19 | 0.04 | <5 | 8.66 | <5 | 2025-03-27
2025-04-30 | 0.04 | <5 | 8.45 | <5 | 2025-05-06
2025-05-28 | 0.04 | <5 | 8.16 | <5 | 2025-06-05
* Laboratory error. Samples collected on 30/12/22 not anaysed within requied timeframes. Additional samples taken on 4 January
a Additional sampling in accordance with licence requirements
b Sampling error. TSS not requested for laboratory analysis.
The Wilson Park Licence can be viewed in full on the NSW EPA website:
https://apps.epa.nsw.gov.au/prpoeoapp/Detail.aspx?instid=10243&id=10243&option=licence&searchrange=licence&range=POEO%20licence&prp=no&status=Issued
NOTE: This document is available at https://www.sydneyolympicpark.com.au/Environment/Environmental-Monitoring-Data and is uncontrolled once downloaded and/or printed.